## Summary
Sample # | Tissue | Brain | Slide # | Array # | Ct | cDNA Amp Cycle | [cDNA] pg/ul | Total cDNA ng | cDNA Input | SI cycles | Ave frag length | Agilent [pg/ul] | KAPA ng/ul | KAPA (pM) | index_name | index(i7) | index2_workflow_a(i5) | index2_workflow_b(i5) | % Coverage Array | Est Read Pairs
1 | DLPFC | Br8100 | V19B23-076 | A1 | 12.89 | 13 | 479.38 | 19.1752 | 4.7938 | 16 | 440 | 16439.21 | 17.4 | 63885.8229 | SI-TT-A1 | GTAACATGCG | AGTGTTACCT | AGGTAACACT | 75 | 187500000
2 | LC_1 | Br6522 | V19B23-076 | B1 | 14.84 | 15 | 563.18 | 22.5272 | 5.6318 | 16 | 432 | 3665.42 | 6.5 | 24305.7212 | SI-TT-B1 | ACAGTAACTA | ACAGTTCGTT | AACGAACTGT | 60 | 150000000
3 | LC_2 | Br6522 | V19B23-076 | C1 | 15.85 | 16 | 441.07 | 17.6428 | 4.4107 | 16 | 407 | 6384.52 | 7.2 | 28574.494 | SI-TT-C1 | TGCGCGGTTT | CAAGGATAAA | TTTATCCTTG | 60 | 150000000
4 | LC | Br8079 | V19B23-076 | D1 | 14.9 | 15 | 269.03 | 10.7612 | 2.6903 | 16 | 384 | 7960.18 | 5.4 | 22848.6478 | SI-TT-D1 | TGCAATGTTC | GCTTGTCGAA | TTCGACAAGC | 25 | 62500000
550 million reads
Sample | 1 |  |  |  | 2 |  |  | 3 |  |  | 4

## qPCR
Pos | Name | Ct FAM
A1 | Neg
A2 | 1 | 12.89
A3 | 2 | 14.84
A4 | 3 | 15.85
A5 | 4 | 14.9

## cDNA Agilent
Sample # | Tissue | Brain | Slide # | Array # | Ct | cDNA Amp Cycle | [cDNA] pg/ul | Total cDNA ng
1 | DLPFC | Br8100 | V19B23-076 | A1 | 12.89 | 13 | 479.38 | 19.1752
2 | LC_1 | Br6522 | V19B23-076 | B1 | 14.84 | 15 | 563.18 | 22.5272
3 | LC_2 | Br6522 | V19B23-076 | C1 | 15.85 | 16 | 441.07 | 17.6428
4 | LC | Br8079 | V19B23-076 | D1 | 14.9 | 15 | 269.03 | 10.7612

## Lib Agilent
Sample 5 | #1 1:10 | *also diluted libraries 1:10 and ran
Sample 6 | #2 1:10
Sample 7 | #3 1:10
Sample 8 | #4 1:10

## KAPA
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
A | Standard 1 | Standard 1 | Standard 1 | 1B | 1B | 1B | 1C | 1C | 1C
B | Standard 2 | Standard 2 | Standard 2 | 2B | 2B | 2B | 2C | 2C | 2C
C | Standard 3 | Standard 3 | Standard 3 | 3B | 3B | 3B | 3C | 3C | 3C
D | Standard 4 | Standard 4 | Standard 4 | 4B | 4B | 4B | 4C | 4C | 4C
E | Standard 5 | Standard 5 | Standard 5
F | Standard 6 | Standard 6 | Standard 6
G
H
| 1 rxn | 46 rxns
KAPA Sybr/primer | 6 | 276
water
diluted library | 4 | - |  |  |  |  | A1 | Standard 1 | 5.13
[7 empty] | A2 | Standard 1 | 5.02
[7 empty] | A3 | Standard 1 | 4.96
[7 empty] | A4 | 1B | 6.49
[7 empty] | A5 | 1B | 6.39
|  | First make 1:100 Dilution of each library (A) |  |  |  |  | A6 | 1B | 6.51
|  | Library | Water | Total |  |  | A7 | 1C | 9.77
|  | 2 | 198 | 200ul |  |  | A8 | 1C | 9.71
[7 empty] | A9 | 1C | 9.82
[7 empty] | A10 |  | 9.6
[7 empty] | A11 |  | 8.4
|  | For 1:10,000 Samples (B) |  |  |  |  | A12 |  | 8.14
|  | Make a 1:00 dilution of A |  |  |  |  | B1 | Standard 2 | 7.59
|  | Library | Water | Total |  |  | B2 | Standard 2 | 7.8
|  | 2ul | 198 | 200ul |  |  | B3 | Standard 2 | 7.82
[7 empty] | B4 | 2B | 7.95
[7 empty] | B5 | 2B | 7.97
|  | For 1:100,000 Samples [C] |  |  |  |  | B6 | 2B | 7.47
|  | Make a 1:10 dilution of B |  |  |  |  | B7 | 2C | 11.31
|  | Library | Water | Total |  |  | B8 | 2C | 11.34
|  | 10 | 90 | 100 |  |  | B9 | 2C | 11.41
[7 empty] | B10 |  | 9.66
[7 empty] | B11 |  | 10.63
[7 empty] | B12 |  | 11.06
[7 empty] | C1 | Standard 3 | 11.66
[7 empty] | C2 | Standard 3 | 11.41
[7 empty] | C3 | Standard 3 | 11.28
[7 empty] | C4 | 3B | 7.64
[7 empty] | C5 | 3B | 7.87
[7 empty] | C6 | 3B | 7.66
[7 empty] | C7 | 3C | 11.31
[7 empty] | C8 | 3C | 11.1
[7 empty] | C9 | 3C | 11.18
[7 empty] | C10 |  | 8.63
[7 empty] | C11 |  | 11.98
[7 empty] | C12 |  | 8.87
[7 empty] | D1 | Standard 4 | 14.92
[7 empty] | D2 | Standard 4 | 14.88
[7 empty] | D3 | Standard 4 | 14.86
[7 empty] | D4 | 4B | 8.16
[7 empty] | D5 | 4B | 8.01
[7 empty] | D6 | 4B | 7.99
[7 empty] | D7 | 4C | 11.63
[7 empty] | D8 | 4C | 11.56
[7 empty] | D9 | 4C | 11.7
[7 empty] | D10 |  | 10.64
[7 empty] | D11 |  | 9.65
[7 empty] | D12 |  | 10.46
[7 empty] | E1 | Standard 5 | 18.66
[7 empty] | E2 | Standard 5 | 18.28
[7 empty] | E3 | Standard 5 | 18.05
[7 empty] | E4 |  | 9.64
[7 empty] | E5 |  | 9.49
[7 empty] | E6 |  | 12.48
[7 empty] | E7 |  | 9.91
[7 empty] | E8 |  | 9.81
[7 empty] | E9 |  | 8.88
[7 empty] | E10 |  | 10.64
[7 empty] | E11 |  | 8.92
[7 empty] | E12 |  | 10.83
[7 empty] | F1 | Standard 6 | 22.11
[7 empty] | F2 | Standard 6 | 21.86
[7 empty] | F3 | Standard 6 | 22.03
[7 empty] | F4 |  | 12.93
[7 empty] | F5 |  | 13.8
F6
F7
F8
F9
F10
F11
F12
G1
G2
G3
G4
G5
G6
G7
G8
G9
G10
G11
G12
H1
H2
H3
H4
H5
H6
H7
H8
H9
H10
H11
H12